## Entity Summary
Field | Extracted Data | Remarks
Establishment Name | ANODYNE
Registration No | 3011654627
Registration Year | 2023
Total No Of Devices | 3
Class 3 Devices | 0
No of Inspections | 13
No Of Recalls | 1
Warning Letters | -
1.Response Letter | N/A
2.Closeout Letter | N/A
Adverse Events | 6
Is This an adverse Report? | 5
Establishment | ANODYNE 5050 S 2nd St Milwaukee, WI 53207 Registration Number: 3011654627 FEI Number*: 3011654627 Status: Active Initial Distributor/Importer: Yes *Note Firm may have additional establishment types. Please review listings for further information. Date of Registration Status: 2023
Owner/Operator | Anodyne 5050 S 2nd St Milwaukee, WI US 53207 Owner/Operator Number: 10049577
Official Correspondent | bobby kanter Anodyne 5050 S 2nd St Milwaukee, WI 53207 Phone: 1-414-8771950
510(k) Device Name | Applicant | 510(k)Number | Decision Date
oasis lacrimal intubation set | ANODYNE | K160710 | 05/13/2016
anolift - portable & anolift - gantry | ANODYNE CORP. | K902141 | 09/12/1990

## Recalls
Recall Link | Trade Name | Recall Class | Posted internet Date | Termination Date | FDA Determine Cause | Quantity in Commerce | Manufacturer Reason For Recall | Action | Distribution
https://www.accessdata.fda.gov/scripts/cdrh/cfdocs/cfRES/res.cfm?id=187003 | Device Recall Hydrodissection Cannula (Chang) | Class 2 | - | May 27, 2022 | Employee error | 8452 units | The product may have a yellowish-brown/greenish-brown residue present at the tip of the cannula. | The firm initiated the recall by email on 04/21/2021. The letter explained the issue and requested the return of the product. | Worldwide distribution - US Nationwide distribution in the states of IL, NJ, TX, MO, CA, PA, WA, and the country of Canada.

## MAUDE
Report Number | Event Date | FDA Received Date | Report Lag | Event Type | Report Source | Manufacturer-D | Manufacturer-G | Brand Name | Type Of Device | Manufacturer Review | Event Text | Manufacturer Narrative | Was Device Available For Evaluation ? | Is This an Adverse Event Report ? | MAUDE Link
1055581-2016-00001 | 03/05/2014 | 07/21/2016 | 869 | Injury | Manufacturer | ANODYNE THERAPY LLC 14105 mccormick drive tampa FL 33626 | ANODYNE THERAPY LLC 14105 mccormick drive tampa FL 33626 | ANODYNE THERAPY | INFRARED DEVICE | - | Patient is reported to have developed severe personal injuries following treatment with the anodyne therapy system that she purchased from anodyne therapy on 5/6/5002. No evidence has been provided to confirm these personal injuries occured or that the anodyne therapy system contributed to the event. The information provided in this event description has been reported by patient's attorney. We will provide any additional relevant information that may be received in this investigation. | Not returned to anodyne therapy llc. | No | Yes | https://www.accessdata.fda.gov/scripts/cdrh/cfdocs/cfMAUDE/detail.cfm?mdrfoi__id=5811671&pc=ILY
1055581-2015-00001 | 05/07/2015 | 06/03/2015 | 27 | Injury | Manufacturer | ANODYNE THERAPY, LLC 14105 mccormick dr tampa FL 33636 | - | ANODYNE THERAPY | INFRARED DEVICE | - | Pt advises that she received a topical burn following treatment with anodyne therapy administered by a healthcare professional. This was the 11th treatment received, with no prior problems. Pt reports she went to the er for treatment 2 days following this anodyne treatment. Pt provided the er notes which confirm absence of treatment consistent with a topical burn, ie no topical treatment and no wound covering. Er notes do not mention a thermal injury, rather that pt was treated for cellulites with antibiotics and pain medication. Pt also provided visual evidence that does not show a topical burn, rather multiple skin red marks covering both legs in places where anodyne pads were not placed based upon both clinical protocols and soap notes from the treating facility / physician. | Anodyne therapy contacted treating facility to discuss the reports made by the pt. Facility provided soap notes and treatment protocols which dod not support a topical burn or any other injury. Facility was requested to identify the anodyne system used during treatment, and return it anodyne for eval, but has failed to do so. Follow up calls were made to schedule add'l training for facility users as is our normal practice. All calls were not returned, and facility stated we were not to contact staff members. In summation, no evidence has been provided to confirm a topical burn has occurred, or that anodyne therapy contributed to the reported event. We do not anticipate receiving any further info to continue an investigation, however if we do, we will report as appropriate. Pt reports she is currently 90-95% healed. | No | Yes | https://www.accessdata.fda.gov/scripts/cdrh/cfdocs/cfMAUDE/detail.cfm?mdrfoi__id=4827570&pc=ILY
MW5042730 | 05/07/2015 | 05/12/2015 | 5 | Injury | Voluntary | ANODYNE LIGHT THERAPY | - | ANODYNE LIGHT THERAPY | ANODYNE LIGHT THERAPY | - | Went to (b)(6) ctr for anodyne light therapy treatment on (b)(6). Treatment was administered longer than protocol and skin condition was not checked every 10 minutes. Burns were noticed that evening with pain and extreme swelling. Went to er, (b)(6) emergency room in (b)(6) was treated for burns, pain, and swelling. | - |  | Yes | https://www.accessdata.fda.gov/scripts/cdrh/cfdocs/cfMAUDE/detail.cfm?mdrfoi__id=4777300&pc=ILY
1055581-2013-00004 | 10/18/2013 | 11/25/2013 | 38 | Injury | Manufacturer | ANODYNE THERAPY, LLC tampa FL 33626 | - | ANODYNE THERAPY | INFRARED LAMP | - | Treating facility reports a patient developed a burn with blisters approximately 1/2" x 1/2" and a reddened area 5cm x 2cm on the calf following an anodyne therapy treatment. Reported patient injury has completely healed. | The system involved in this complaint was returned for evaluation after patient reportedly developed a 2nd degree burn with blisters approximately 1/2 x 1/2" and a reddened area approximately 5cm x 2cm on the le calf following treatment with an anodyne therapy professional system. Patient self administered silvadene, and did receive medical intervention of a topical antibiotic. Reported treatment time and intensity was within the guidelines provided to the user in the ifu manual. Evaluation identified a broken wire in one therapy pad, and a bad connection in one jack, neither of which would be expected to cause high temperatures. Additionally, during simulated use, the therapy pad temperatures were found to be well within levels that would not be expected to cause a burn. The facility reported that they used this same anodyne unit on various other patients around the same time as the reported injury without incident. Accordingly, anodyne is not able to confirm that this anodyne unit caused the reported injury. The number of incidents of this type remain within the expected rate for this product based upon the number of incidents reported and the number of units in distribution. Company continues to monitor and trend events of this type. | Yes | Yes | https://www.accessdata.fda.gov/scripts/cdrh/cfdocs/cfMAUDE/detail.cfm?mdrfoi__id=3503984&pc=ILY
1055581-2013-00003 | 07/16/2013 | 08/20/2013 | 35 | Injury | Manufacturer | ANODYNE THERAPY, LLC tampa FL 33626 | - | ANODYNE THERAPY | INFRARED LAMP | - | Treating facility reports a pt developed a burn the size of a quarter on the calf following an anodyne therapy treatment. | The system involved in this complaint was returned for eval after pt reportedly developed a 2nd degree burn the size of a quarter on the rt calf following treatment with an anodyne therapy professional system. Pt did received medical intervention - a topical antibiotic. Reported treatment time and intensity was within the guidelines provided to the user in the ifu manual. Upon eval, a defective transistor was identified; however, therapy pad temperatures during simulated use were found to be will within levels that would not be expected to cause a burn. Additionally, the facility reported they used this same anodyne unit on other pts without incident around the same time as the reported injury. Accordingly, anodyne is not able to confirm that this anodyne unit caused the reported injury. The number of incidents of this type remain within the expected rate for this product based upon the number of incidents reported and the number of units in distribution. Company continues to monitor and trend events of this type. | Yes | Yes | https://www.accessdata.fda.gov/scripts/cdrh/cfdocs/cfMAUDE/detail.cfm?mdrfoi__id=3313383&pc=ILY
MW5031075 | 07/15/2013 | 07/23/2013 | 8 | malfunction | Voluntary | ANODYNE THERAPY SERVICES 141 mccormick dr. tampa FL 33626 | - | ANODYNE THERAPY PROFESSIONAL SYSTEM | ANDOYNE INFRARED LIGHT THERAPY DEVICE | - | A pt experienced a quarter -sized, first to send degree burn on her right calf during therapy on that extremity with an andoyne infrared light therapy device. Reason for use: to increase circulation of the right lower extremity. The pt reported that her primary care physician diagnosed the quarter-sized red mark on her right calf as a 1st to 2nd degree burn, and that a topical ointment was prescribed. | - | Device Returned to Manufacturer | No | https://www.accessdata.fda.gov/scripts/cdrh/cfdocs/cfMAUDE/detail.cfm?mdrfoi__id=3252332&pc=ILY

## Inspections
City | State | Zip Code | Inspection End Date | Project Area | Classification
Oldsmar | Florida | 34677 | 01/23/2020 | Compliance: Devices | Voluntary Action Indicated (VAI)
Oldsmar | Florida | 34677 | 01/23/2020 | Postmarket Assurance: Devices | No Action Indicated (NAI)
Oldsmar | Florida | 34677 | 01/23/2020 | Radiation Control and Health Safety Act | Voluntary Action Indicated (VAI)
Saint Charles | Missouri | 63304 | 04/25/2018 | Compliance: Devices | Voluntary Action Indicated (VAI)
Saint Charles | Missouri | 63304 | 04/25/2018 | Postmarket Assurance: Devices | No Action Indicated (NAI)
Coral Springs | Florida | 33065 | 08/13/2015 | Compliance: Devices | Voluntary Action Indicated (VAI)
Coral Springs | Florida | 33065 | 08/13/2015 | Postmarket Assurance: Devices | No Action Indicated (NAI)
Oldsmar | Florida | 34677 | 01/09/2013 | Compliance: Devices | No Action Indicated (NAI)
Oldsmar | Florida | 34677 | 01/09/2013 | Postmarket Assurance: Devices | No Action Indicated (NAI)
Coral Springs | Florida | 33065 | 11/02/2011 | Compliance: Devices | Voluntary Action Indicated (VAI)
Coral Springs | Florida | 33065 | 11/02/2011 | Postmarket Assurance: Devices | No Action Indicated (NAI)
Oldsmar | Florida | 34677 | 04/17/2009 | Compliance: Devices | No Action Indicated (NAI)
Oldsmar | Florida | 34677 | 04/17/2009 | Postmarket Assurance: Devices | No Action Indicated (NAI)

## Devices
Device Summary | Device Detail | TPLC Information | # Reported Events
Device Name | ORTHOSIS, LIMB BRACE | TPLC Device Problem | MDR | Event In MDR
Device Class | 1 | Adverse Event Without Identified Device or Use Problem28 | 33 | 33
Product Code | IQI | Material Separation29 | 9 | 9
Regulation No | 890.34 | Patient Device Interaction Problem30 | 8 | 8
Premarket Submission No | - | Patient-Device Incompatibility31 | 2 | 2
Establishment Operations | Manufacturer | Inadequacy of Device Shape and/or Size32 | 2 | 2
Recalls | -
Device Name | ORTHOSIS, CORRECTIVE SHOE | TPLC Device Problem | MDR | Event In MDR
Device Class | 1 | Adverse Event Without Identified Device or Use Problem28 | 16 | 16
Product Code | KNP | Insufficient Information29 | 9 | 9
Regulation No | 890.34 | Patient Device Interaction Problem30 | 4 | 4
Premarket Submission No | - | Break31 | 4 | 4
Establishment Operations | Specification Developer | Device Contaminated During Manufacture or Shipping32 | 2 | 2
Recalls | -
Device Name | STOCKING, MEDICAL SUPPORT (FOR GENERAL MEDICAL PURPOSES) | TPLC Device Problem | MDR | Event In MDR
Device Class | 1 | Improper or Incorrect Procedure or Method26 | 3 | 3
Product Code | FQL | Patient-Device Incompatibility27 | 2 | 2
Regulation No | 880.57 | Data Problem28 | 2 | 2
Premarket Submission No | - | Contamination29 | 1 | 1
Establishment Operations | Specification Developer | No Display/Image30 | 1 | 1
Recalls | -

## Info
Establishment Name | Error | Timestamp
ANODYNE | Warning Result Not Found | 2023-07-28 17:28