## Entity Summary
Field | Extracted Data | Remarks
Establishment Name | Biomet 3i Dental Iberica S L U
Registration No | 3006411780
Registration Year | 2023
Total No Of Devices | 89
Class 3 Devices | -
No of Inspections | -
No Of Recalls | -
Warning Letters | -
1.Response Letter | N/A
2.Closeout Letter | N/A
Adverse Events | -
Is This an adverse Report? | -
Establishment | Biomet 3i Dental Iberica S.L.U. WTC Almeda Park, Ed.4, Planta 2 C/Tirso de Molina, 40 Cornella de Llobregat Barcelona, ES 08940 Registration Number: 3006411780 FEI Number*: 3006411780 Status: Active Date of Registration Status: 2023
Owner/Operator | Biomet 3i 4555 Riverside Drive Palm Beach Gardens, FL US 33410 Owner/Operator Number: 1038806
Official Correspondent | ruth lopez 4555 Riverside Drive Palm Beach Gardens, FL 33410 Phone: 561-7766700 US Agent: Ruth Lopez 4555 Riverside Drive Palm Beach Garden, FL US 33410 Phone: 561 7766700 ext Email: Ruth.Lopez@zimvie.com
510(k) Device Name | Applicant | 510(k)Number | Decision Date
510K Table Not Found

## Recalls
Recall Link | Trade Name | Recall Class | Posted internet Date | Termination Date | FDA Determine Cause | Quantity in Commerce | Manufacturer Reason For Recall | Action | Distribution
FDA Access Error

## MAUDE
Report Number | Event Date | FDA Received Date | Report Lag | Event Type | Report Source | Manufacturer-D | Manufacturer-G | Brand Name | Type Of Device | Manufacturer Review | Event Text | Manufacturer Narrative | Was Device Available For Evaluation ? | Is This an Adverse Event Report ? | MAUDE Link
Result Not Found

## Inspections
City | State | Zip Code | Inspection End Date | Project Area | Classification
Result Not Found

## Devices
Device Summary | Device Detail | TPLC Information | # Reported Events
Device Name | CONICAL ANGLED ABUTMENT | TPLC Device Problem | MDR
Device Class | 2 | Fracture107 | 1646
Product Code | NHA | Unintended Movement108 | 473
Regulation No | 872.36 | Positioning Failure109 | 229
Premarket Submission No | K063403 | Migration or Expulsion of Device110 | 115
Establishment Operations | Complaint File Establishment | Failure to Advance111 | 69
Recalls | 5
Device Name | CAM STRUCTSURE PRECISION MILLED BARS | TPLC Device Problem | MDR
Device Class | 2 | Fracture107 | 1646
Product Code | NHA | Unintended Movement108 | 473
Regulation No | 872.36 | Positioning Failure109 | 229
Premarket Submission No | K080864 | Migration or Expulsion of Device110 | 115
Establishment Operations | Complaint File Establishment | Failure to Advance111 | 69
Recalls | -
Device Name | QUICKBRIDGE TM CYLINDER AND CAP | TPLC Device Problem | MDR
Device Class | 2 | Fracture107 | 1646
Product Code | NHA | Unintended Movement108 | 473
Regulation No | 872.36 | Positioning Failure109 | 229
Premarket Submission No | K071551 | Migration or Expulsion of Device110 | 115
Establishment Operations | Complaint File Establishment | Failure to Advance111 | 69
Recalls | 1
Device Name | OSSEOTITE II MODEL XIFOSSXXX | TPLC Device Problem | MDR
Device Class | 2 | FDA Access Error
Product Code | DZE
Regulation No | 872.36
Premarket Submission No | K100724
Establishment Operations | Complaint File Establishment
Recalls | 5
Device Name | PREFORMANCE TEMPORARY CYLINDER | TPLC Device Problem | MDR
Device Class | 2 | Fracture107 | 1646
Product Code | NHA | Unintended Movement108 | 473
Regulation No | 872.36 | Positioning Failure109 | 229
Premarket Submission No | K060291 | Migration or Expulsion of Device110 | 115
Establishment Operations | Complaint File Establishment | Failure to Advance111 | 69
Recalls | 3
Device Name | 3I LOCATER ABUTMENT SYSTEM | TPLC Device Problem | MDR
Device Class | 2 | FDA Access Error
Product Code | DZE
Regulation No | 872.36
Premarket Submission No | K012911
Establishment Operations | Complaint File Establishment
Recalls | 11
Device Name | IMPLANT INNOVATION PRE-ANGLED ABUTMENT SYSTEM | TPLC Device Problem | MDR
Device Class | 2 | FDA Access Error
Product Code | DZE
Regulation No | 872.36
Premarket Submission No | K932123
Establishment Operations | Complaint File Establishment
Recalls | -
Device Name | PREFORMANCE POSTS | TPLC Device Problem | MDR
Device Class | 2 | Fracture107 | 1646
Product Code | NHA | Unintended Movement108 | 473
Regulation No | 872.36 | Positioning Failure109 | 229
Premarket Submission No | K053170 | Migration or Expulsion of Device110 | 115
Establishment Operations | Complaint File Establishment | Failure to Advance111 | 69
Recalls | 3
Device Name | OSSEOTITE 2 DENTAL IMPLANTS | TPLC Device Problem | MDR
Device Class | 2 | FDA Access Error
Product Code | DZE
Regulation No | 872.36
Premarket Submission No | K111216
Establishment Operations | Complaint File Establishment
Recalls | -
Device Name | OVERDENTURE ATTACHMENT | TPLC Device Problem | MDR
Device Class | 2 | FDA Access Error
Product Code | DZE
Regulation No | 872.36
Premarket Submission No | K891613
Establishment Operations | Complaint File Establishment
Recalls | 6
Device Name | MODIFICATION TO 3I PATIENT-SPECIFIC DENTAL ABUTMENTS AND OVERDENTURE BARS | TPLC Device Problem | MDR
Device Class | 2 | Fracture107 | 1646
Product Code | NHA | Unintended Movement108 | 473
Regulation No | 872.36 | Positioning Failure109 | 229
Premarket Submission No | K052648 | Migration or Expulsion of Device110 | 115
Establishment Operations | Complaint File Establishment | Failure to Advance111 | 69
Recalls | 13
Device Name | LOW PROFILE ABUTMENTS - INTERNAL AND EXTERNAL CONNECTION | TPLC Device Problem | MDR
Device Class | 2 | Fracture107 | 1646
Product Code | NHA | Unintended Movement108 | 473
Regulation No | 872.36 | Positioning Failure109 | 229
Premarket Submission No | K092341 | Migration or Expulsion of Device110 | 115
Establishment Operations | Complaint File Establishment | Failure to Advance111 | 69
Recalls | 39
Device Name | BIOMET 3I PATIENT SPECIFIC DENTAL ABUTMENTS - ENCODE ABUTMENTS | TPLC Device Problem | MDR
Device Class | 2 | Fracture107 | 1646
Product Code | NHA | Unintended Movement108 | 473
Regulation No | 872.36 | Positioning Failure109 | 229
Premarket Submission No | K101607 | Migration or Expulsion of Device110 | 115
Establishment Operations | Complaint File Establishment | Failure to Advance111 | 69
Recalls | -
Device Name | OSSEOTITE; OSSEOTITE NT; XP; TG OSSEOTITE | TPLC Device Problem | MDR
Device Class | 2 | FDA Access Error
Product Code | DZE
Regulation No | 872.36
Premarket Submission No | K063286
Establishment Operations | Complaint File Establishment
Recalls | 5
Device Name | 3I OSSEOTITE CERTAIN DENTAL IMPLANTS | TPLC Device Problem | MDR
Device Class | 2 | FDA Access Error
Product Code | DZE
Regulation No | 872.36
Premarket Submission No | K063341
Establishment Operations | Complaint File Establishment
Recalls | 10
Device Name | BIOMET 3I DENTAL ABUTMENTS AND RESTORATIVE COMPONENTS | TPLC Device Problem | MDR
Device Class | 2 | Fracture107 | 1646
Product Code | NHA | Unintended Movement108 | 473
Regulation No | 872.36 | Positioning Failure109 | 229
Premarket Submission No | K072642 | Migration or Expulsion of Device110 | 115
Establishment Operations | Complaint File Establishment | Failure to Advance111 | 69
Recalls | 81
Device Name | PREFORMANCE POSTS AND TEMPORARY CYLINDERS | TPLC Device Problem | MDR
Device Class | 2 | Fracture107 | 1646
Product Code | NHA | Unintended Movement108 | 473
Regulation No | 872.36 | Positioning Failure109 | 229
Premarket Submission No | K061969 | Migration or Expulsion of Device110 | 115
Establishment Operations | Complaint File Establishment | Failure to Advance111 | 69
Recalls | 2
Device Name | BIOMET 3I PATIENT SPECIFIC DENTAL ABUTMENTS-ENCODE ABUTMENTS | TPLC Device Problem | MDR
Device Class | 2 | Fracture107 | 1646
Product Code | NHA | Unintended Movement108 | 473
Regulation No | 872.36 | Positioning Failure109 | 229
Premarket Submission No | K101608 | Migration or Expulsion of Device110 | 115
Establishment Operations | Complaint File Establishment | Failure to Advance111 | 69
Recalls | -
Device Name | T3 DENTAL IMPLANT | TPLC Device Problem | MDR
Device Class | 2 | FDA Access Error
Product Code | DZE
Regulation No | 872.36
Premarket Submission No | K122300
Establishment Operations | Complaint File Establishment
Recalls | 3
Device Name | CP4 OSSEOTITE CERTAIN DENTAL IMPLANTS | TPLC Device Problem | MDR
Device Class | 2 | FDA Access Error
Product Code | DZE
Regulation No | 872.36
Premarket Submission No | K130949
Establishment Operations | Complaint File Establishment
Recalls | 1
Device Name | 3I T3(R) EXTERNAL HEX DENTAL IMPLANTS | TPLC Device Problem | MDR
Device Class | 2 | Failure to Osseointegrate145 | 997393
Product Code | DZE | Loss of Osseointegration146 | 374712
Regulation No | 872.36 | Osseointegration Problem147 | 165022
Premarket Submission No | K133049 | Adverse Event Without Identified Device or Use Problem148 | 67591
Establishment Operations | Complaint File Establishment | Fracture149 | 30314
Recalls | -
Device Name | CERTAIN PREVAIL DENTAL IMPLANT | TPLC Device Problem | MDR
Device Class | 2 | Failure to Osseointegrate145 | 997393
Product Code | DZE | Loss of Osseointegration146 | 374712
Regulation No | 872.36 | Osseointegration Problem147 | 165022
Premarket Submission No | K061629 | Adverse Event Without Identified Device or Use Problem148 | 67591
Establishment Operations | Complaint File Establishment | Fracture149 | 30314
Recalls | -
Device Name | 3I OSSEOTITE DENTAL IMPLANTS | TPLC Device Problem | MDR
Device Class | 2 | Failure to Osseointegrate145 | 997393
Product Code | DZE | Loss of Osseointegration146 | 374712
Regulation No | 872.36 | Osseointegration Problem147 | 165022
Premarket Submission No | K051461 | Adverse Event Without Identified Device or Use Problem148 | 67591
Establishment Operations | Complaint File Establishment | Fracture149 | 30314
Recalls | -
Device Name | ABUTMENTS FOR COMPETITIVE IMPLANT SYSTEMS-NOBEL REPLACE | TPLC Device Problem | MDR
Device Class | 2 | Fracture107 | 1646
Product Code | NHA | Unintended Movement108 | 473
Regulation No | 872.36 | Positioning Failure109 | 229
Premarket Submission No | K110565 | Migration or Expulsion of Device110 | 115
Establishment Operations | Complaint File Establishment | Failure to Advance111 | 69
Recalls | -
Device Name | ABUTMENT FOR COMPETITIVE IMPLANT STRAUMANN BONE LEVEL CONNECTION | TPLC Device Problem | MDR
Device Class | 2 | Fracture107 | 1646
Product Code | NHA | Unintended Movement108 | 473
Regulation No | 872.36 | Positioning Failure109 | 229
Premarket Submission No | K112730 | Migration or Expulsion of Device110 | 115
Establishment Operations | Complaint File Establishment | Failure to Advance111 | 69
Recalls | 2
Device Name | CAM STRUCTSURE BARS | TPLC Device Problem | MDR
Device Class | 2 | Fracture107 | 1646
Product Code | NHA | Unintended Movement108 | 473
Regulation No | 872.36 | Positioning Failure109 | 229
Premarket Submission No | K101582 | Migration or Expulsion of Device110 | 115
Establishment Operations | Complaint File Establishment | Failure to Advance111 | 69
Recalls | -
Device Name | ENCODE PATIENT SPECIFIC ABUTMENT | TPLC Device Problem | MDR
Device Class | 2 | Fracture107 | 1646
Product Code | NHA | Unintended Movement108 | 473
Regulation No | 872.36 | Positioning Failure109 | 229
Premarket Submission No | K102209 | Migration or Expulsion of Device110 | 115
Establishment Operations | Complaint File Establishment | Failure to Advance111 | 69
Recalls | 5
Device Name | ABUTMENT FOR COMPETITIVE IMPLANT NOBEL ACTIVE CONNECTION | TPLC Device Problem | MDR
Device Class | 2 | Fracture107 | 1646
Product Code | NHA | Unintended Movement108 | 473
Regulation No | 872.36 | Positioning Failure109 | 229
Premarket Submission No | K120776 | Migration or Expulsion of Device110 | 115
Establishment Operations | Complaint File Establishment | Failure to Advance111 | 69
Recalls | -
Device Name | ADBUTMENT CYLINDER AND SCREW | TPLC Device Problem | MDR
Device Class | 2 | Failure to Osseointegrate | 1026984
Product Code | DZE | Loss of Osseointegration | 385286
Regulation No | 872.36 | Osseointegration Problem | 166192
Premarket Submission No | K871863 | Adverse Event Without Identified Device or Use Problem | 69263
Establishment Operations | Complaint File Establishment | Fracture | 31176
Recalls | -
Device Name | 3I INNOVATIVE IMPLANTS AND COVER SCREWS | TPLC Device Problem | MDR
Device Class | 2 | FDA Access Error
Product Code | DZE
Regulation No | 872.36
Premarket Submission No | K972444
Establishment Operations | Complaint File Establishment
Recalls | 2
Device Name | TAPERED ABUTMENT AND RELATED COMPONENTS | TPLC Device Problem | MDR
Device Class | 2 | FDA Access Error
Product Code | DZE
Regulation No | 872.36
Premarket Submission No | K933969
Establishment Operations | Complaint File Establishment
Recalls | -
Device Name | 3I DENTAL IMPLANT ACCESSORIES | TPLC Device Problem | MDR
Device Class | 2 | FDA Access Error
Product Code | DZE
Regulation No | 872.36
Premarket Submission No | K022113
Establishment Operations | Complaint File Establishment
Recalls | -
Device Name | ATTACHMENT, PRECISION, ALL | TPLC Device Problem | MDR
Device Class | 1 | Device Problem Table Not Found
Product Code | EGG
Regulation No | 872.31
Premarket Submission No | -
Establishment Operations | Complaint File Establishment
Recalls | -
Device Name | OSSEODENT DENTAL ATTACHMENTS (NON-ANGLED) | TPLC Device Problem | MDR
Device Class | 2 | FDA Access Error
Product Code | DZE
Regulation No | 872.36
Premarket Submission No | K904228
Establishment Operations | Complaint File Establishment
Recalls | 1
Device Name | 3i T3 Short Implants | TPLC Device Problem | MDR
Device Class | 2 | FDA Access Error
Product Code | DZE
Regulation No | 872.36
Premarket Submission No | K150571
Establishment Operations | Complaint File Establishment
Recalls | -
Device Name | ABUTMENT, IMPLANT, DENTAL, ENDOSSEOUS | TPLC Device Problem | MDR
Device Class | 2 | Fracture107 | 1646
Product Code | NHA | Unintended Movement108 | 473
Regulation No | 872.36 | Positioning Failure109 | 229
Premarket Submission No | - | Migration or Expulsion of Device110 | 115
Establishment Operations | Complaint File Establishment | Failure to Advance111 | 69
Recalls | -
Device Name | Certain BellaTek Express and BellaTek Flex Abutments | TPLC Device Problem | MDR
Device Class | 2 | Fracture107 | 1646
Product Code | NHA | Unintended Movement108 | 473
Regulation No | 872.36 | Positioning Failure109 | 229
Premarket Submission No | K183138 | Migration or Expulsion of Device110 | 115
Establishment Operations | Complaint File Establishment | Failure to Advance111 | 69
Recalls | -
Device Name | TEMPORARY GINGIVAL CUFF AND IMPRESSION POST AND IMPLANT ANALOG | TPLC Device Problem | MDR
Device Class | 2 | FDA Access Error
Product Code | DZE
Regulation No | 872.36
Premarket Submission No | K001786
Establishment Operations | Complaint File Establishment
Recalls | -
Device Name | SWISSPLUS IMPLANT SYSTEM, MODEL SPWB 8,10,12,14/OPH20/SMPR, SPB 8,10,12,14/OP3.5D/OPAR,OPB 8,10,12,14/OP2.3D/OP2.8D, | TPLC Device Problem | MDR
Device Class | 2 | FDA Access Error
Product Code | DZE
Regulation No | 872.36
Premarket Submission No | K002188
Establishment Operations | Complaint File Establishment
Recalls | -
Device Name | ADVENT IMPLANT SYSTEM | TPLC Device Problem | MDR
Device Class | 2 | FDA Access Error
Product Code | DZE
Regulation No | 872.36
Premarket Submission No | K002614
Establishment Operations | Complaint File Establishment
Recalls | -
Device Name | ADVENT IMPLANT SYSTEM, SWISS PLUS IMPLANT SYSTEM | TPLC Device Problem | MDR
Device Class | 2 | FDA Access Error
Product Code | DZE
Regulation No | 872.36
Premarket Submission No | K011245
Establishment Operations | Complaint File Establishment
Recalls | -
Device Name | SCREW-VENT DENTAL IMPLANT SYSTEM | TPLC Device Problem | MDR
Device Class | 2 | FDA Access Error
Product Code | DZE
Regulation No | 872.36
Premarket Submission No | K011028
Establishment Operations | Complaint File Establishment
Recalls | 2
Device Name | SCREW VENT IMPLANT; TAPERED SCREW VENT IMPLANT | TPLC Device Problem | MDR
Device Class | 2 | FDA Access Error
Product Code | DZE
Regulation No | 872.36
Premarket Submission No | K013227
Establishment Operations | Complaint File Establishment
Recalls | 2
Device Name | TAPER-LOCK DENTAL IMPLANT SYSTEM | TPLC Device Problem | MDR
Device Class | 2 | FDA Access Error
Product Code | DZE
Regulation No | 872.36
Premarket Submission No | K011038
Establishment Operations | Complaint File Establishment
Recalls | -
Device Name | PARAGON IMPLANT SYSTEM | TPLC Device Problem | MDR
Device Class | 2 | FDA Access Error
Product Code | DZE
Regulation No | 872.36
Premarket Submission No | K953101
Establishment Operations | Complaint File Establishment
Recalls | -
Device Name | 3.75MM AND 5.0MM SPLINE TWIST IMPLANT | TPLC Device Problem | MDR
Device Class | 2 | FDA Access Error
Product Code | DZE
Regulation No | 872.36
Premarket Submission No | K013494
Establishment Operations | Complaint File Establishment
Recalls | -
Device Name | INTEGRAL V BIOINTEGRATED DENTAL IMPLANT SYSTEM | TPLC Device Problem | MDR
Device Class | 2 | FDA Access Error
Product Code | DZE
Regulation No | 872.36
Premarket Submission No | K943604
Establishment Operations | Complaint File Establishment
Recalls | -
Device Name | SPLINE DENTAL IMPLANT SYSTEMS | TPLC Device Problem | MDR
Device Class | 2 | FDA Access Error
Product Code | DZE
Regulation No | 872.36
Premarket Submission No | K962106
Establishment Operations | Complaint File Establishment
Recalls | -
Device Name | HEX-LOCK TEMPORARY ABUTMENT | TPLC Device Problem | MDR
Device Class | 2 | FDA Access Error
Product Code | DZE
Regulation No | 872.36
Premarket Submission No | K014050
Establishment Operations | Complaint File Establishment
Recalls | -
Device Name | ZIMMER DENTAL HEX-LOCK PREPARED ABUTMENT (STRAIGHT & ANGLED) | TPLC Device Problem | MDR
Device Class | 2 | Fracture107 | 1646
Product Code | NHA | Unintended Movement108 | 473
Regulation No | 872.36 | Positioning Failure109 | 229
Premarket Submission No | K052600 | Migration or Expulsion of Device110 | 115
Establishment Operations | Complaint File Establishment | Failure to Advance111 | 69
Recalls | -
Device Name | ZIMMER DENTAL ONE-PIECE IMPLANT | TPLC Device Problem | MDR
Device Class | 2 | FDA Access Error
Product Code | DZE
Regulation No | 872.36
Premarket Submission No | K052997
Establishment Operations | Complaint File Establishment
Recalls | 1
Device Name | ZIMMER DENTAL ONE PIECE TAPERED ABUTMENT, MODELS TAC1, TACW1, TA5C1 | TPLC Device Problem | MDR
Device Class | 2 | Fracture107 | 1646
Product Code | NHA | Unintended Movement108 | 473
Regulation No | 872.36 | Positioning Failure109 | 229
Premarket Submission No | K060880 | Migration or Expulsion of Device110 | 115
Establishment Operations | Complaint File Establishment | Failure to Advance111 | 69
Recalls | -
Device Name | TSV BellaTek Encode Healing Abutments | TPLC Device Problem | MDR
Device Class | 2 | Fracture107 | 1646
Product Code | NHA | Unintended Movement108 | 473
Regulation No | 872.36 | Positioning Failure109 | 229
Premarket Submission No | K173374 | Migration or Expulsion of Device110 | 115
Establishment Operations | Complaint File Establishment | Failure to Advance111 | 69
Recalls | -
Device Name | INTEGRAL III DENTAL IMPLANT ABUTMENT | TPLC Device Problem | MDR
Device Class | 2 | FDA Access Error
Product Code | DZE
Regulation No | 872.36
Premarket Submission No | K932274
Establishment Operations | Complaint File Establishment
Recalls | -
Device Name | SCREW-VENT ENDOSSEOUS HA COATED DENTAL IMPLANTS | TPLC Device Problem | MDR
Device Class | 2 | FDA Access Error
Product Code | DZE
Regulation No | 872.36
Premarket Submission No | K902969
Establishment Operations | Complaint File Establishment
Recalls | -
Device Name | BIO-VENT | TPLC Device Problem | MDR
Device Class | 2 | FDA Access Error
Product Code | DZE
Regulation No | 872.36
Premarket Submission No | K883717
Establishment Operations | Complaint File Establishment
Recalls | -
Device Name | Zimmer Cast-to Gold Abutments for the 3.1mmD Dental Implant System | TPLC Device Problem | MDR
Device Class | 2 | Fracture107 | 1646
Product Code | NHA | Unintended Movement108 | 473
Regulation No | 872.36 | Positioning Failure109 | 229
Premarket Submission No | K143528 | Migration or Expulsion of Device110 | 115
Establishment Operations | Complaint File Establishment | Failure to Advance111 | 69
Recalls | -
Device Name | TI PREPABLE ABUTMENT, MODEL 1618, 1619, 1620 | TPLC Device Problem | MDR
Device Class | 2 | Fracture107 | 1646
Product Code | NHA | Unintended Movement108 | 473
Regulation No | 872.36 | Positioning Failure109 | 229
Premarket Submission No | K092403 | Migration or Expulsion of Device110 | 115
Establishment Operations | Complaint File Establishment | Failure to Advance111 | 69
Recalls | -
Device Name | ZIMMER ONE PIECE IMPLANT, 3.0MM ANGLED, MODELS ZOP30A10, ZOP30A11 AND ZOP30A13 | TPLC Device Problem | MDR
Device Class | 2 | FDA Access Error
Product Code | DZE
Regulation No | 872.36
Premarket Submission No | K071235
Establishment Operations | Complaint File Establishment
Recalls | 1
Device Name | SPLINE DENTAL IMPLANT SYSTEM-TEMPORARY ABUTMENT | TPLC Device Problem | MDR
Device Class | 2 | FDA Access Error
Product Code | DZE
Regulation No | 872.36
Premarket Submission No | K982305
Establishment Operations | Complaint File Establishment
Recalls | -
Device Name | ZIMMER ANGLED CONTOUR ZIRCONIA ABUTMENT | TPLC Device Problem | MDR
Device Class | 2 | Fracture107 | 1646
Product Code | NHA | Unintended Movement108 | 473
Regulation No | 872.36 | Positioning Failure109 | 229
Premarket Submission No | K083474 | Migration or Expulsion of Device110 | 115
Establishment Operations | Complaint File Establishment | Failure to Advance111 | 69
Recalls | -
Device Name | ZIMMER CONTOUR PROVISIONAL COPING | TPLC Device Problem | MDR
Device Class | 2 | Fracture107 | 1646
Product Code | NHA | Unintended Movement108 | 473
Regulation No | 872.36 | Positioning Failure109 | 229
Premarket Submission No | K113092 | Migration or Expulsion of Device110 | 115
Establishment Operations | Complaint File Establishment | Failure to Advance111 | 69
Recalls | -
Device Name | 5.0MM SPLINE ENDOSSEOUS DENTAL IMPLANT SYSTEMS | TPLC Device Problem | MDR
Device Class | 2 | FDA Access Error
Product Code | DZE
Regulation No | 872.36
Premarket Submission No | K955619
Establishment Operations | Complaint File Establishment
Recalls | -
Device Name | INTEGRAL VI BIOINTEGRATED DENTAL IMPLANT SYSTEM | TPLC Device Problem | MDR
Device Class | 2 | FDA Access Error
Product Code | DZE
Regulation No | 872.36
Premarket Submission No | K944327
Establishment Operations | Complaint File Establishment
Recalls | -
Device Name | 3.25 SPLINE TWIST IMPLANT, HA COATED | TPLC Device Problem | MDR
Device Class | 2 | FDA Access Error
Product Code | DZE
Regulation No | 872.36
Premarket Submission No | K093164
Establishment Operations | Complaint File Establishment
Recalls | 1
Device Name | ZIMMER DENTAL TAPERED SWISSPLUS IMPLANTS | TPLC Device Problem | MDR
Device Class | 2 | FDA Access Error
Product Code | DZE
Regulation No | 872.36
Premarket Submission No | K082639
Establishment Operations | Complaint File Establishment
Recalls | 1
Device Name | Zimmer Zfx Abutment for Zimmer 3.1mmD Implant System | TPLC Device Problem | MDR
Device Class | 2 | Fracture107 | 1646
Product Code | NHA | Unintended Movement108 | 473
Regulation No | 872.36 | Positioning Failure109 | 229
Premarket Submission No | K142572 | Migration or Expulsion of Device110 | 115
Establishment Operations | Complaint File Establishment | Failure to Advance111 | 69
Recalls | -
Device Name | ZIMMER 3.1MM DENTAL IMPLANT;2.9MM ANGLED ABUTMENT;STRAIGHT HEX, 2.9MM CONTOUR ABUTEMENT | TPLC Device Problem | MDR
Device Class | 2 | FDA Access Error
Product Code | DZE
Regulation No | 872.36
Premarket Submission No | K142082
Establishment Operations | Complaint File Establishment
Recalls | -
Device Name | ZIMMER DENTAL TAPERED SCREW VENT T IMPLANT, HA COATED;ZIMMER DENTAL TAPERED SCREW-VENT M IMPLANT, HA COATED | TPLC Device Problem | MDR
Device Class | 2 | FDA Access Error
Product Code | DZE
Regulation No | 872.36
Premarket Submission No | K133339
Establishment Operations | Complaint File Establishment
Recalls | -
Device Name | ZIMMER DENTAL TRABECULAR METAL IMPLANT SYSTEM | TPLC Device Problem | MDR
Device Class | 2 | FDA Access Error
Product Code | DZE
Regulation No | 872.36
Premarket Submission No | K132258
Establishment Operations | Complaint File Establishment
Recalls | -
Device Name | ZIMMER DENTAL TAPERED SCREW-VENT X | TPLC Device Problem | MDR
Device Class | 2 | FDA Access Error
Product Code | DZE
Regulation No | 872.36
Premarket Submission No | K113753
Establishment Operations | Complaint File Establishment
Recalls | -
Device Name | TAPERED SCREW-VENT X IMPLANT | TPLC Device Problem | MDR
Device Class | 2 | FDA Access Error
Product Code | DZE
Regulation No | 872.36
Premarket Submission No | K112160
Establishment Operations | Complaint File Establishment
Recalls | 19
Device Name | TAPERED SCREW-VENT T IMPLANT, TAPERED SCREW-VENT P IMPLANT | TPLC Device Problem | MDR
Device Class | 2 | FDA Access Error
Product Code | DZE
Regulation No | 872.36
Premarket Submission No | K101880
Establishment Operations | Complaint File Establishment
Recalls | 1
Device Name | TEMPLATE | TPLC Device Problem | MDR
Device Class | 1 | No Clinical Signs, Symptoms or Conditions124 | 5563
Product Code | HWT | No Consequences Or Impact To Patient125 | 1771
Regulation No | 888.48 | Insufficient Information126 | 235
Premarket Submission No | - | No Code Available127 | 139
Establishment Operations | Complaint File Establishment | No Patient Involvement128 | 115
Recalls | -
Device Name | CASTABLE ABUTMENTS | TPLC Device Problem | MDR
Device Class | 2 | FDA Access Error
Product Code | DZE
Regulation No | 872.36
Premarket Submission No | K900694
Establishment Operations | Complaint File Establishment
Recalls | -
Device Name | HYDROXYLAPATITE COATED ENDOSSEOUS DENT | TPLC Device Problem | MDR
Device Class | 2 | FDA Access Error
Product Code | DZE
Regulation No | 872.36
Premarket Submission No | K840750
Establishment Operations | Complaint File Establishment
Recalls | -
Device Name | INTEGRAL PLUS BIOINTEGRATED DENTAL IMPLANT SYSTEM | TPLC Device Problem | MDR
Device Class | 2 | FDA Access Error
Product Code | DZE
Regulation No | 872.36
Premarket Submission No | K900549
Establishment Operations | Complaint File Establishment
Recalls | -
Device Name | PLASTIC TEMPORARY ABUTMENTS, MODELS: PT341S, PT344S, PT341A, PT344A, PT451S, PT454S, PT451A, PT454A, PT561S, PT564S | TPLC Device Problem | MDR
Device Class | 2 | Fracture107 | 1646
Product Code | NHA | Unintended Movement108 | 473
Regulation No | 872.36 | Positioning Failure109 | 229
Premarket Submission No | K092377 | Migration or Expulsion of Device110 | 115
Establishment Operations | Complaint File Establishment | Failure to Advance111 | 69
Recalls | -
Device Name | ZIMMER DENTAL TAPERED SCREW-VENT M IMPLANT | TPLC Device Problem | MDR
Device Class | 2 | FDA Access Error
Product Code | DZE
Regulation No | 872.36
Premarket Submission No | K111889
Establishment Operations | Complaint File Establishment
Recalls | 1
Device Name | SCREW-VENT IMPLANT SYSTEM, SV;TAPERED SCREW -VENT IMPLANT SYSTEM, TSV;ADVENT IMPLANT SYSTEM,AV;ZIMMER ONE-PIECE IMPLANT | TPLC Device Problem | MDR
Device Class | 2 | Failure to Osseointegrate145 | 997393
Product Code | DZE | Loss of Osseointegration146 | 374712
Regulation No | 872.36 | Osseointegration Problem147 | 165022
Premarket Submission No | K061410 | Adverse Event Without Identified Device or Use Problem148 | 67591
Establishment Operations | Complaint File Establishment | Fracture149 | 30314
Recalls | 1
Device Name | TAPERED SCREW-VENT T IMPLANT | TPLC Device Problem | MDR
Device Class | 2 | FDA Access Error
Product Code | DZE
Regulation No | 872.36
Premarket Submission No | K101977
Establishment Operations | Complaint File Establishment
Recalls | 3
Device Name | TAPERED SCREW-VENT IMPLANT, 4.1MM, MODELS: TSV4B8, B10, B11, B13 AND B16, TSV4H8, H11, H13 AND H16 | TPLC Device Problem | MDR
Device Class | 2 | FDA Access Error
Product Code | DZE
Regulation No | 872.36
Premarket Submission No | K072589
Establishment Operations | Complaint File Establishment
Recalls | 3
Device Name | ANGLED TAPERED ABUTMENT | TPLC Device Problem | MDR
Device Class | 2 | Fracture107 | 1646
Product Code | NHA | Unintended Movement108 | 473
Regulation No | 872.36 | Positioning Failure109 | 229
Premarket Submission No | K111853 | Migration or Expulsion of Device110 | 115
Establishment Operations | Complaint File Establishment | Failure to Advance111 | 69
Recalls | -
Device Name | MODIFICATION TO: LOCATOR IMPLANT ANCHOR | TPLC Device Problem | MDR
Device Class | 2 | Fracture107 | 1646
Product Code | NHA | Unintended Movement108 | 473
Regulation No | 872.36 | Positioning Failure109 | 229
Premarket Submission No | K072878 | Migration or Expulsion of Device110 | 115
Establishment Operations | Complaint File Establishment | Failure to Advance111 | 69
Recalls | 1
Device Name | ANODIZED HEALING COLLAR | TPLC Device Problem | MDR
Device Class | 2 | Fracture107 | 1646
Product Code | NHA | Unintended Movement108 | 473
Regulation No | 872.36 | Positioning Failure109 | 229
Premarket Submission No | K111852 | Migration or Expulsion of Device110 | 115
Establishment Operations | Complaint File Establishment | Failure to Advance111 | 69
Recalls | -
Device Name | HEX-LOCK SHORT ABUTMENT, MODEL SA341, SA342, SA451, SA452, SA561, SA562 SHORT HEALING CAP, MODEL SAHEAL4, SAHEAL5, | TPLC Device Problem | MDR
Device Class | 2 | Fracture107 | 1646
Product Code | NHA | Unintended Movement108 | 473
Regulation No | 872.36 | Positioning Failure109 | 229
Premarket Submission No | K090723 | Migration or Expulsion of Device110 | 115
Establishment Operations | Complaint File Establishment | Failure to Advance111 | 69
Recalls | -
Device Name | ZIMMER CONTOUR CERAMIC ABUTMENT, MODELS ZRA341S, ZRA342S, KRA451S, ZRA452S | TPLC Device Problem | MDR
Device Class | 2 | Fracture107 | 1646
Product Code | NHA | Unintended Movement108 | 473
Regulation No | 872.36 | Positioning Failure109 | 229
Premarket Submission No | K061847 | Migration or Expulsion of Device110 | 115
Establishment Operations | Complaint File Establishment | Failure to Advance111 | 69
Recalls | -
Device Name | TRAY, SURGICAL, INSTRUMENT | TPLC Device Problem | MDR
Device Class | 1 | Fracture107 | 1646
Product Code | FSM | Unintended Movement108 | 473
Regulation No | 878.48 | Positioning Failure109 | 229
Premarket Submission No | - | Migration or Expulsion of Device110 | 115
Establishment Operations | Manufacturer | Failure to Advance111 | 69
Recalls | -
Device Name | ACCESSORIES, IMPLANT, DENTAL, ENDOSSEOUS | TPLC Device Problem | MDR
Device Class | 1 | Fracture29 | 321
Product Code | NDP | Separation Failure30 | 256
Regulation No | 872.39 | Detachment of Device or Device Component31 | 146
Premarket Submission No | - | Adverse Event Without Identified Device or Use Problem32 | 125
Establishment Operations | Complaint File Establishment | Mechanical Problem33 | 98
Recalls | -

## Info
Establishment Name | Error | Timestamp
Biomet 3i Dental Iberica S L U | 510K Table Not Found | 2023-08-07 12:09
Biomet 3i Dental Iberica S L U | Recalls Not Found | 2023-08-07 12:09
Biomet 3i Dental Iberica S L U | MAUDE Table Not Found | 2023-08-07 12:10
Biomet 3i Dental Iberica S L U | Inspection Table Not Found | 2023-08-07 12:11
Biomet 3i Dental Iberica S L U | Warning Letters Not Found | 2023-08-07 12:11