## Entity Summary
Field | Extracted Data | Remarks
Establishment Name | CADENCE DEVICE, INC
Registration No | 3010659131
Registration Year | 2023
Total No Of Devices | 12
Class 3 Devices | 0
No of Inspections | 2
No Of Recalls | -
Warning Letters | -
1.Response Letter | N/A
2.Closeout Letter | N/A
Adverse Events | -
Is This an adverse Report? | 0
Establishment | CADENCE DEVICE, INC. 250 W KENSINGER DR STE 400 Cranberry Township, PA 16066 Registration Number: 3010659131 FEI Number*: 3010659131 Status: Active Date of Registration Status: 2023
Owner/Operator | Cadence Device, Inc. 250 West Kensinger Dr. Suite 400 Cranberry Township, PA US 16066 Owner/Operator Number: 10045803
Official Correspondent | robert hegedus 250 West Kensinger Dr. Suite 400 Cranberry Township, PA 16066 Phone: 001-412-5764676
510(k) Device Name | Applicant | 510(k)Number | Decision Date
510K Table Not Found

## Recalls
Recall Link | Trade Name | Recall Class | Posted internet Date | Termination Date | FDA Determine Cause | Quantity in Commerce | Manufacturer Reason For Recall | Action | Distribution
Result Not Found

## MAUDE
Report Number | Event Date | FDA Received Date | Report Lag | Event Type | Report Source | Manufacturer-D | Manufacturer-G | Brand Name | Type Of Device | Manufacturer Review | Event Text | Manufacturer Narrative | Was Device Available For Evaluation ? | Is This an Adverse Event Report ? | MAUDE Link
Result Not Found

## Inspections
City | State | Zip Code | Inspection End Date | Project Area | Classification
Cranberry Township | Pennsylvania | 16066 | 02/14/2019 | Compliance: Devices | Voluntary Action Indicated (VAI)
Cranberry Township | Pennsylvania | 16066 | 02/14/2019 | Postmarket Assurance: Devices | No Action Indicated (NAI)

## Devices
Device Summary | Device Detail | TPLC Information | # Reported Events
Device Name | ACCESSORIES, ARTHROSCOPIC | TPLC Device Problem | MDR | Event In MDR
Device Class | 1 | Break28 | 886 | 886
Product Code | NBH | Material Separation29 | 156 | 156
Regulation No | 888.11 | Detachment of Device or Device Component30 | 113 | 113
Premarket Submission No | - | Material Deformation31 | 110 | 110
Establishment Operations | Contract Manufacturer | Difficult to Open or Close32 | 93 | 93
Recalls | -
Device Name | PASSER | TPLC Device Problem | MDR | Event In MDR
Device Class | 1 | Break28 | 298 | 298
Product Code | HWQ | Material Separation29 | 53 | 53
Regulation No | 888.45 | Detachment of Device or Device Component30 | 36 | 36
Premarket Submission No | - | Mechanical Jam31 | 31 | 31
Establishment Operations | Contract Manufacturer | Mechanical Problem32 | 17 | 17
Recalls | -
Device Name | KIT, SURGICAL INSTRUMENT, DISPOSABLE | TPLC Device Problem | MDR | Event In MDR
Device Class | 1 | Adverse Event Without Identified Device or Use Problem28 | 44 | 44
Product Code | KDD | Break29 | 16 | 16
Regulation No | 878.48 | Device Damaged by Another Device30 | 13 | 13
Premarket Submission No | - | Inadequate Lubrication31 | 13 | 13
Establishment Operations | Contract Manufacturer | Contamination /Decontamination Problem32 | 12 | 12
Recalls | -
Device Name | Confirm Rx Insertable Cardiac Monitor (ICM) System | TPLC Device Problem | MDR | Event In MDR
Device Class | 2 | Under-Sensing31 | 3211 | 3211
Product Code | MXC | Over-Sensing32 | 797 | 797
Regulation No | 870.28 | Failure to Interrogate33 | 510 | 510
Premarket Submission No | K163407 | Data Problem34 | 380 | 380
Establishment Operations | Contract Manufacturer | Adverse Event Without Identified Device or Use Problem35 | 370 | 370
Recalls | -
Device Name | APPARATUS, TRACTION, NON-POWERED | TPLC Device Problem | MDR | Event In MDR
Device Class | 1 | Break28 | 35 | 35
Product Code | HST | Device-Device Incompatibility29 | 22 | 22
Regulation No | 888.58 | Adverse Event Without Identified Device or Use Problem30 | 14 | 14
Premarket Submission No | - | Unintended Movement31 | 12 | 12
Establishment Operations | Contract Manufacturer | Positioning Failure32 | 11 | 11
Recalls | -
Device Name | SCALPEL, ONE-PIECE | TPLC Device Problem | MDR | Event In MDR
Device Class | 1 | Mechanical Problem28 | 7 | 7
Product Code | GDX | Difficult to Open or Remove Packaging Material29 | 7 | 7
Regulation No | 878.48 | Tear, Rip or Hole in Device Packaging30 | 5 | 5
Premarket Submission No | - | Break31 | 4 | 4
Establishment Operations | Contract Manufacturer | Unintended Movement32 | 4 | 4
Recalls | -
Device Name | M-Fix Acromioclavicular Device | TPLC Device Problem | MDR | Event In MDR
Device Class | 2 | Break41 | 150 | 150
Product Code | HTN | Adverse Event Without Identified Device or Use Problem42 | 131 | 131
Regulation No | 888.3 | Device-Device Incompatibility43 | 25 | 25
Premarket Submission No | K153211 | Appropriate Term/Code Not Available44 | 21 | 21
Establishment Operations | Contract Manufacturer | Difficult to Advance45 | 12 | 12
Recalls | -
Device Name | ORTHOPEDIC MANUAL SURGICAL INSTRUMENT | TPLC Device Problem | MDR | Event In MDR
Device Class | 1 | Break29 | 10678 | 10678
Product Code | LXH | Device-Device Incompatibility30 | 3479 | 3479
Regulation No | 888.45 | Fracture31 | 2599 | 2630
Premarket Submission No | - | Material Deformation32 | 1333 | 1371
Establishment Operations | Contract Manufacturer | Material Twisted/Bent33 | 1264 | 1264
Recalls | -
Device Name | AWL | TPLC Device Problem | MDR | Event In MDR
Device Class | 1 | Break28 | 31 | 31
Product Code | HWJ | Adverse Event Without Identified Device or Use Problem29 | 11 | 11
Regulation No | 888.45 | Failure to Cut30 | 5 | 5
Premarket Submission No | - | Material Deformation31 | 4 | 4
Establishment Operations | Contract Manufacturer | Contamination /Decontamination Problem32 | 3 | 3
Recalls | -
Device Name | Stryker iBur hubs and cutting accessories | TPLC Device Problem | MDR | Event In MDR
Device Class | 2 | Overheating of Device40 | 1938 | 11415
Product Code | ERL | Fracture41 | 1070 | 1224
Regulation No | 874.42 | Flaked42 | 746 | 32993
Premarket Submission No | K210377 | Break43 | 471 | 550
Establishment Operations | Contract Manufacturer | Vibration44 | 249 | 249
Recalls | -
Device Name | Stryker iBur hubs and cutting accessories | TPLC Device Problem | MDR | Event In MDR
Device Class | 2 | Overheating of Device40 | 1938 | 11415
Product Code | HBE | Fracture41 | 1070 | 1224
Regulation No | 882.43 | Flaked42 | 746 | 32993
Premarket Submission No | K210377 | Break43 | 471 | 550
Establishment Operations | Contract Manufacturer | Vibration44 | 249 | 249
Recalls | -
Device Name | IVX Fluid Transfer Set | TPLC Device Problem | MDR | Event In MDR
Device Class | 2 | Fluid/Blood Leak45 | 4302 | 4390
Product Code | LHI | Device Contamination with Chemical or Other Material46 | 1136 | 1198
Regulation No | 880.54 | Leak/Splash47 | 290 | 290
Premarket Submission No | K212530 | Device Displays Incorrect Message48 | 253 | 253
Establishment Operations | Contract Manufacturer | Infusion or Flow Problem49 | 219 | 219
Recalls | -

## Info
Establishment Name | Error | Timestamp
CADENCE DEVICE, INC | 510K Table Not Found | 2023-07-27 15:55
CADENCE DEVICE, INC | Recalls Not Found | 2023-07-27 15:55
CADENCE DEVICE, INC | MAUDE Table Not Found | 2023-07-27 15:57
CADENCE DEVICE, INC | Warning Result Not Found | 2023-07-27 15:57