## Entity Summary
Field | Extracted Data | Remarks
Establishment Name | Cadence Inc
Registration No | 3009266751
Registration Year | 2023
Total No Of Devices | 6
Class 3 Devices | 0
No of Inspections | 2
No Of Recalls | 2
Warning Letters | -
1.Response Letter | N/A
2.Closeout Letter | N/A
Adverse Events | 3
Is This an adverse Report? | 0
Establishment | Cadence Inc. 9 Technology Dr Staunton, VA 24401 Registration Number: 3009266751 FEI Number*: 3009266751 Status: Active Date of Registration Status: 2023
Owner/Operator | Cadence Science Inc. 2080 PLAINFIELD PIKE Cranston, RI US 02921 Owner/Operator Number: 2414164
Official Correspondent | robert l knecht 9 Technology Drive Staunton, VA 24401 Phone: 01-540-2482200-4503
510(k) Device Name | Applicant | 510(k)Number | Decision Date
510K Table Not Found

## Recalls
Recall Link | Trade Name | Recall Class | Posted internet Date | Termination Date | FDA Determine Cause | Quantity in Commerce | Manufacturer Reason For Recall | Action | Distribution
https://www.accessdata.fda.gov/scripts/cdrh/cfdocs/cfRES/res.cfm?id=138671 | Device Recall MicroMate Tuberculin Glass Syringe | Class 2 | August 10, 2015 | July 29, 2016 | Device Design | 1665 units | Graduation marks of the syringe are not centered with the numeric position marks on the syringe barrel. | Cadence issued the recall letter, specific to the customer dated 7/9/15 via registered mail on July 17, 2015. Accounts are requested to Recalled products must not be used. 2. Locate and quarantine all affected products. 3. Contact Cadence Science, Inc. using the Response Form provided. 4. If this information is received by a dealer, wholesaler, or distributor/reseller that distributed any of these products to other facilities, then notify their customers of this action so that those customers can locate and remove all affected products. Any questions contact: Phone: 401-942-1031 | Nationwide Foreign Canada, Denmark. Italy
https://www.accessdata.fda.gov/scripts/cdrh/cfdocs/cfRES/res.cfm?id=138670 | Device Recall | Class 2 | August 10, 2015 | July 29, 2016 | Device Design | 766 units | Graduation marks of the syringe are not centered with the numeric position marks on the syringe barrel. | Cadence issued the recall letter, specific to the customer dated 7/9/15 via registered mail on July 17, 2015. Accounts are requested to Recalled products must not be used. 2. Locate and quarantine all affected products. 3. Contact Cadence Science, Inc. using the Response Form provided. 4. If this information is received by a dealer, wholesaler, or distributor/reseller that distributed any of these products to other facilities, then notify their customers of this action so that those customers can locate and remove all affected products. Any questions contact: Phone: 401-942-1031 | Nationwide Foreign Canada, Denmark. Italy

## MAUDE
Report Number | Event Date | FDA Received Date | Report Lag | Event Type | Report Source | Manufacturer-D | Manufacturer-G | Brand Name | Type Of Device | Manufacturer Review | Event Text | Manufacturer Narrative | Was Device Available For Evaluation ? | Is This an Adverse Event Report ? | MAUDE Link
1213649-2015-00001 | 08/07/2013 | 05/05/2015 | 636 | malfunction | Manufacturer | CADENCE INC. 2080 plainfield pike cranston RI | - | PERFEKTUM TUBERCULIN GLASS SYRINGE | SYRINGE | - | On (b)(6) 2013 the customer reported syringe numeration is not centered over the graduation mark. There was no patient exposure (involvement) and no injury to the user. | - | Yes | No | https://www.accessdata.fda.gov/scripts/cdrh/cfdocs/cfMAUDE/detail.cfm?mdrfoi__id=4756338&pc=DWO
1213649-2013-00023 | 05/22/2013 | 06/25/2013 | 34 | malfunction | Manufacturer | CADENCE INC. 2080 plainfield pike cranston RI | - | MICRO-MATE TURBERCULIN GLASS SYRINGE | SYRINGE | - | On (b)(6) 2013, it was reported 2 glass syringes part number 5208 were received with no visible damage to the carton and found syringes broken when taken out of the box and prior to first use. There was no patient exposure and no injury to the user. | - | Yes | No | https://www.accessdata.fda.gov/scripts/cdrh/cfdocs/cfMAUDE/detail.cfm?mdrfoi__id=3193259&pc=DWO
1213649-2013-00022 | 05/22/2013 | 06/25/2013 | 34 | malfunction | Manufacturer | CADENCE INC. 2080 plainfield pike cranston RI | - | MICRO-MATE TUBERCULIN GLASS SYRINGE | SYRINGE | - | On (b)(6) 2013, it was reported 2 glass syringes part number 5208 were found to be broken when taken out of the box and prior to first use. There was no patient exposure and no injury to the user. | - | Yes | No | https://www.accessdata.fda.gov/scripts/cdrh/cfdocs/cfMAUDE/detail.cfm?mdrfoi__id=3193258&pc=FMF

## Inspections
City | State | Zip Code | Inspection End Date | Project Area | Classification
Staunton | Virginia | 24401 | 12/14/2017 | Compliance: Devices | No Action Indicated (NAI)
Staunton | Virginia | 24401 | 12/14/2017 | Postmarket Assurance: Devices | No Action Indicated (NAI)

## Devices
Device Summary | Device Detail | TPLC Information | # Reported Events
Device Name | BLADE, SAW, GENERAL & PLASTIC SURGERY, SURGICAL | TPLC Device Problem | MDR | Event In MDR
Device Class | 1 | Fracture28 | 681 | 683
Product Code | GFA | Break29 | 618 | 736
Regulation No | 878.48 | Material Fragmentation30 | 121 | 121
Premarket Submission No | - | Mechanical Jam31 | 117 | 117
Establishment Operations | Contract Manufacturer | Complete Loss of Power32 | 79 | 79
Recalls | -
Device Name | SCALPEL, ONE-PIECE | TPLC Device Problem | MDR | Event In MDR
Device Class | 1 | Mechanical Problem28 | 7 | 7
Product Code | GDX | Difficult to Open or Remove Packaging Material29 | 7 | 7
Regulation No | 878.48 | Tear, Rip or Hole in Device Packaging30 | 5 | 5
Premarket Submission No | - | Break31 | 4 | 4
Establishment Operations | Contract Manufacturer | Unintended Movement32 | 4 | 4
Recalls | -
Device Name | BLADE, SAW, SURGICAL, CARDIOVASCULAR | TPLC Device Problem | MDR | Event In MDR
Device Class | 1 | Fracture28 | 14 | 14
Product Code | DWH | Break29 | 6 | 6
Regulation No | 878.48
Premarket Submission No | -
Establishment Operations | Contract Manufacturer
Recalls | -
Device Name | KNIFE, ORTHOPEDIC | TPLC Device Problem | MDR | Event In MDR
Device Class | 1 | Fracture25 | 1 | 1
Product Code | HTS | Material Fragmentation26 | 1 | 1
Regulation No | 888.45 | Loose or Intermittent Connection27 | 1 | 1
Premarket Submission No | -
Establishment Operations | Contract Manufacturer
Recalls | -
Device Name | INSTRUMENT, SURGICAL, ORTHOPEDIC, AC-POWERED MOTOR AND ACCESSORY/ATTACHMENT | TPLC Device Problem | MDR | Event In MDR
Device Class | 1 | Physical Resistance/Sticking28 | 2746 | 2903
Product Code | HWE | Mechanical Jam29 | 2671 | 2671
Regulation No | 878.48 | Output below Specifications30 | 2250 | 2250
Premarket Submission No | - | Complete Loss of Power31 | 2029 | 2029
Establishment Operations | Contract Manufacturer | Fracture32 | 1465 | 2081
Recalls | -
Device Name | RAZOR, SURGICAL | TPLC Device Problem | MDR | Event In MDR
Device Class | 1 | Adverse Event Without Identified Device or Use Problem28 | 22 | 22
Product Code | LWK | Fire29 | 9 | 9
Regulation No | 878.48 | Overheating of Device30 | 9 | 9
Premarket Submission No | - | Smoking31 | 6 | 6
Establishment Operations | Contract Manufacturer | Sharp Edges32 | 3 | 3
Recalls | -

## Info
Establishment Name | Error | Timestamp
Cadence Inc | 510K Table Not Found | 2023-07-27 16:00
Cadence Inc | Warning Result Not Found | 2023-07-27 16:03