## Entity Summary
Field | Extracted Data | Remarks
Establishment Name | Cadence Science, Inc
Registration No | 1213649
Registration Year | 2023
Total No Of Devices | 2
Class 3 Devices | 0
No of Inspections | 8
No Of Recalls | 1
Warning Letters | -
1.Response Letter | N/A
2.Closeout Letter | N/A
Adverse Events | 2
Is This an adverse Report? | 0
Establishment | Cadence Science, Inc. 2080 PLAINFIELD PIKE Cranston, RI 02921 Registration Number: 1213649 FEI Number*: 1213649 Status: Active Date of Registration Status: 2023
Owner/Operator | Cadence Science Inc. 2080 PLAINFIELD PIKE Cranston, RI US 02921 Owner/Operator Number: 2414164
Official Correspondent | charles c funkhouser Cadence Science, Inc. 2080 Plainfield Pike Cranston, RI 02921 Phone: 401-9421031
510(k) Device Name | Applicant | 510(k)Number | Decision Date
510K Table Not Found

## Recalls
Recall Link | Trade Name | Recall Class | Posted internet Date | Termination Date | FDA Determine Cause | Quantity in Commerce | Manufacturer Reason For Recall | Action | Distribution
https://www.accessdata.fda.gov/scripts/cdrh/cfdocs/cfRES/res.cfm?id=176577 | Device Recall Cadence Science | Class 2 | - | June 05, 2020 | Under Investigation by firm | 237 | The glass syringe used with Pressure Control Syringes may potentially break during use. | On May 10, 2019, the firm distributed Advisory Notice letters to affected customers. Customers were advised of the potential issue involving breakage of the glass syringe used with Pressure Control Syringes. The firm recommended that the customer inspect the product for this issue prior to use in accordance with the Instructions For Use (IFU) which were provided with the product. The firm provided an additional IFU with the notification. Upon successful inspection, the firm recommended that customers continue to use the product in accordance with the IFU and continue to follow all OSHA recommendations for the safe handling of chemicals to include PPE. Customers may contact Chuck Funkhouser at 401-942-1031, ext. 4226 or Charles.Funkhouser@cadenceinc.com, or Jeff Crist at 540-245-1022 or Jeff@cadenceinc.com with any questions. | US Nationwide distribution in the states of AL, AR, CA, FL, GA, IA, ID, IL, MO, NH, NJ, NY, OH, PA, SC, TX, VA, and WI.

## MAUDE
Report Number | Event Date | FDA Received Date | Report Lag | Event Type | Report Source | Manufacturer-D | Manufacturer-G | Brand Name | Type Of Device | Manufacturer Review | Event Text | Manufacturer Narrative | Was Device Available For Evaluation ? | Is This an Adverse Event Report ? | MAUDE Link
0001213649-2019-00001 | 02/14/2019 | 03/27/2019 | 41 | malfunction | Manufacturer | CADENCE SCIENCE, INC. 2080 plainfield pike cranston RI 02921 | CADENCE SCIENCE, INC. 2080 plainfield pike cranston RI 02921 | MICRO-MATE | PRESSURE CONTROL SYRINGE | - | The investigation will be completed upon receipt of the syringes from the user. At such time we will follow-up and update the mdr with final actions and determinations. | The investigation will be completed upon receipt of the syringes from the user. At such time we will follow-up and update the mdr with final actions and determinations. | Yes | No | https://www.accessdata.fda.gov/scripts/cdrh/cfdocs/cfMAUDE/detail.cfm?mdrfoi__id=8457996&pc=FMF
1213649-2017-00001 | 08/09/2013 | 03/09/2017 | 1308 | malfunction | Manufacturer | CADENCE SCIENCE, INC. 2080 plainfield pike cranston RI 02921 | CADENCE SCIENCE, INC. 2080 plainfield pike cranston RI 02921 | CADENCE SCIENCE | 1 ML GLASS SYRINGE | - | Cadence science inc. Acknowledges this report does not meet the 30 day reporting requirements. This was unintentional. This report is being filed after it was identified as noncompliant during an internal review of our complaint files. | Cadence science inc. Acknowledges this report does not meet the 30 day reporting requirements. This was unintentional. This report is being filed after it was identified as noncompliant during an internal review of our complaint files. | Device Returned to Manufacturer | No | https://www.accessdata.fda.gov/scripts/cdrh/cfdocs/cfMAUDE/detail.cfm?mdrfoi__id=6393142&pc=FMF

## Inspections
City | State | Zip Code | Inspection End Date | Project Area | Classification
Cranston | Rhode Island | 02921 | 11/29/2022 | Compliance: Devices | No Action Indicated (NAI)
Cranston | Rhode Island | 02921 | 11/29/2022 | Postmarket Assurance: Devices | No Action Indicated (NAI)
Cranston | Rhode Island | 02921 | 09/13/2019 | Compliance: Devices | Voluntary Action Indicated (VAI)
Cranston | Rhode Island | 02921 | 09/13/2019 | Postmarket Assurance: Devices | Voluntary Action Indicated (VAI)
Cranston | Rhode Island | 02921 | 01/25/2017 | Compliance: Devices | Voluntary Action Indicated (VAI)
Cranston | Rhode Island | 02921 | 01/25/2017 | Postmarket Assurance: Devices | Voluntary Action Indicated (VAI)
Cranston | Rhode Island | 02921 | 02/26/2013 | Compliance: Devices | Voluntary Action Indicated (VAI)
Cranston | Rhode Island | 02921 | 03/04/2011 | Compliance: Devices | Voluntary Action Indicated (VAI)

## Devices
Device Summary | Device Detail | TPLC Information | # Reported Events
Device Name | ACCESSORIES, ARTHROSCOPIC | TPLC Device Problem | MDR | Event In MDR
Device Class | 1 | Break28 | 886 | 886
Product Code | NBH | Material Separation29 | 156 | 156
Regulation No | 888.11 | Detachment of Device or Device Component30 | 113 | 113
Premarket Submission No | - | Material Deformation31 | 110 | 110
Establishment Operations | Contract Manufacturer | Difficult to Open or Close32 | 93 | 93
Recalls | -
Device Name | INSTRUMENT, MANUAL, SURGICAL, GENERAL USE | TPLC Device Problem | MDR | Event In MDR
Device Class | 1 | Break28 | 879 | 879
Product Code | MDM | Detachment of Device or Device Component29 | 83 | 83
Regulation No | 878.48 | Fracture30 | 81 | 81
Premarket Submission No | - | Entrapment of Device31 | 69 | 69
Establishment Operations | Contract Manufacturer | Difficult to Remove32 | 61 | 61
Recalls | -

## Info
Establishment Name | Error | Timestamp
Cadence Science, Inc | 510K Table Not Found | 2023-07-27 16:05
Cadence Science, Inc | Warning Result Not Found | 2023-07-27 16:08