## Entity Summary
Field | Extracted Data | Remarks
Establishment Name | Zimmer Biomet Centroamerica SA
Registration No | 3014315560
Registration Year | 2023
Total No Of Devices | 33
Class 3 Devices | 2
No of Inspections | -
No Of Recalls
Warning Letters | -
1.Response Letter | N/A
2.Closeout Letter | N/A
Adverse Events | 1
Is This an adverse Report? | -
Establishment | Zimmer Biomet Centroamerica SA Oficentro Ejecutivo La Sabana Edificio 7, Piso 3 san jose, CR 10101 Registration Number: 3014315560 FEI Number*: 3014315560 Status: Active Date of Registration Status: 2023
Owner/Operator | ZimmerBiomet Americas DFE 1800 W Center St. Warsaw, IN US 46580 Owner/Operator Number: 10056779
Official Correspondent | cristian florencio Zimmer Biomet Centroamerica SA Oficentro Ejecutivo La Sabana Edificio 7, Piso 3 San Jose, CR 10101 Phone: 506-2-5887700 US Agent: Holly Seppanen Zimmer Biomet 1800 West Center Street Warsaw, IN US 46580 Phone: 952 8470494 ext Email: holly.seppanen@zimmerbiomet.com
510(k) Device Name | Applicant | 510(k)Number | Decision Date
510K Table Not Found

## Recalls
Recall Link | Trade Name | Recall Class | Posted internet Date | Termination Date | FDA Determine Cause | Quantity in Commerce | Manufacturer Reason For Recall | Action | Distribution
FDA Access Error

## MAUDE
Report Number | Event Date | FDA Received Date | Report Lag | Event Type | Report Source | Manufacturer-D | Manufacturer-G | Brand Name | Type Of Device | Manufacturer Review | Event Text | Manufacturer Narrative | Was Device Available For Evaluation ? | Is This an Adverse Event Report ? | MAUDE Link
MW5114615 | 10/06/2022 | 01/31/2023 | 117 | malfunction | Voluntary | ZIMMER BIOMET CENTROAMERICA SA | - | JUGGERKNOT MINI, ONE 3-0 MAXBRAID - BLUE / WHIT | FASTENER, FIXATION, NONDEGRADABLE, SOFT TISSUE | - | Zimmer biomet one-time use juggerknot soft anchor 912082 malfunctioned, tip of anchor broken. New anchor opened. | - | No Answer Provided | No | https://www.accessdata.fda.gov/scripts/cdrh/cfdocs/cfMAUDE/detail.cfm?mdrfoi__id=16278953&pc=MBI

## Inspections
City | State | Zip Code | Inspection End Date | Project Area | Classification
Result Not Found

## Devices
Device Summary | Device Detail | TPLC Information | # Reported Events
Device Name | EBI OPTILOCK PERIARTICULAR PLATING SYSTEM | TPLC Device Problem | MDR
Device Class | 2 | Adverse Event Without Identified Device or Use Problem137 | 6302
Product Code | HRS | Break138 | 2379
Regulation No | 888.3 | Fracture139 | 1051
Premarket Submission No | K061098 | Device-Device Incompatibility140 | 598
Establishment Operations | Foreign Exporter | Migration141 | 514
Recalls | -
Device Name | EBI OPTILOCK PERIARTICULAR PLATING SYSTEM | TPLC Device Problem | MDR
Device Class | 2 | Adverse Event Without Identified Device or Use Problem137 | 6302
Product Code | HWC | Break138 | 2379
Regulation No | 888.3 | Fracture139 | 1051
Premarket Submission No | K061098 | Device-Device Incompatibility140 | 598
Establishment Operations | Foreign Exporter | Migration141 | 514
Recalls | -
Device Name | EBI PERIARTICULAR PLATING SYSTEM | TPLC Device Problem | MDR
Device Class | 2 | Adverse Event Without Identified Device or Use Problem137 | 6302
Product Code | HRS | Break138 | 2379
Regulation No | 888.3 | Fracture139 | 1051
Premarket Submission No | K042237 | Device-Device Incompatibility140 | 598
Establishment Operations | Foreign Exporter | Migration141 | 514
Recalls | 10
Device Name | EBI TROCHANTERIC NAIL SYSTEM | TPLC Device Problem | MDR
Device Class | 2 | Adverse Event Without Identified Device or Use Problem73 | 5184
Product Code | HSB | Break74 | 3375
Regulation No | 888.3 | Device-Device Incompatibility75 | 1735
Premarket Submission No | K050118 | Migration76 | 1581
Establishment Operations | Foreign Exporter | Fracture77 | 1197
Recalls | 3
Device Name | ZINDRICK IM ROD | TPLC Device Problem | MDR
Device Class | 2 | Adverse Event Without Identified Device or Use Problem73 | 5184
Product Code | HSB | Break74 | 3375
Regulation No | 888.3 | Device-Device Incompatibility75 | 1735
Premarket Submission No | K871539 | Migration76 | 1581
Establishment Operations | Foreign Exporter | Fracture77 | 1197
Recalls | 1
Device Name | TRAUMA INTERNAL FIXATION SYSTEMS | TPLC Device Problem | MDR
Device Class | 2 | Adverse Event Without Identified Device or Use Problem137 | 6302
Product Code | HRS | Break138 | 2379
Regulation No | 888.3 | Fracture139 | 1051
Premarket Submission No | K111663 | Device-Device Incompatibility140 | 598
Establishment Operations | Foreign Exporter | Migration141 | 514
Recalls | 17
Device Name | TRAUMA INTERNAL FIXATION SYSTEMS | TPLC Device Problem | MDR
Device Class | 2 | Adverse Event Without Identified Device or Use Problem137 | 6302
Product Code | HSB | Break138 | 2379
Regulation No | 888.3 | Fracture139 | 1051
Premarket Submission No | K111663 | Device-Device Incompatibility140 | 598
Establishment Operations | Foreign Exporter | Migration141 | 514
Recalls | 17
Device Name | TRAUMA INTERNAL FIXATION SYSTEMS | TPLC Device Problem | MDR
Device Class | 2 | Adverse Event Without Identified Device or Use Problem137 | 6302
Product Code | HTN | Break138 | 2379
Regulation No | 888.3 | Fracture139 | 1051
Premarket Submission No | K111663 | Device-Device Incompatibility140 | 598
Establishment Operations | Foreign Exporter | Migration141 | 514
Recalls | 17
Device Name | TRAUMA INTERNAL FIXATION SYSTEMS | TPLC Device Problem | MDR
Device Class | 2 | Adverse Event Without Identified Device or Use Problem137 | 6302
Product Code | HTY | Break138 | 2379
Regulation No | 888.3 | Fracture139 | 1051
Premarket Submission No | K111663 | Device-Device Incompatibility140 | 598
Establishment Operations | Foreign Exporter | Migration141 | 514
Recalls | 17
Device Name | TRAUMA INTERNAL FIXATION SYSTEMS | TPLC Device Problem | MDR
Device Class | 2 | Adverse Event Without Identified Device or Use Problem137 | 6302
Product Code | HWC | Break138 | 2379
Regulation No | 888.3 | Fracture139 | 1051
Premarket Submission No | K111663 | Device-Device Incompatibility140 | 598
Establishment Operations | Foreign Exporter | Migration141 | 514
Recalls | 17
Device Name | TRAUMA INTERNAL FIXATION SYSTEMS | TPLC Device Problem | MDR
Device Class | 2 | Adverse Event Without Identified Device or Use Problem137 | 6302
Product Code | JDW | Break138 | 2379
Regulation No | 888.3 | Fracture139 | 1051
Premarket Submission No | K111663 | Device-Device Incompatibility140 | 598
Establishment Operations | Foreign Exporter | Migration141 | 514
Recalls | 17
Device Name | TRAUMA INTERNAL FIXATION SYSTEMS | TPLC Device Problem | MDR
Device Class | 2 | Adverse Event Without Identified Device or Use Problem137 | 6302
Product Code | KTT | Break138 | 2379
Regulation No | 888.3 | Fracture139 | 1051
Premarket Submission No | K111663 | Device-Device Incompatibility140 | 598
Establishment Operations | Foreign Exporter | Migration141 | 514
Recalls | 17
Device Name | TRAUMA INTERNAL FIXATION SYSTEMS | TPLC Device Problem | MDR
Device Class | 2 | Adverse Event Without Identified Device or Use Problem137 | 6302
Product Code | LXT | Break138 | 2379
Regulation No | 888.3 | Fracture139 | 1051
Premarket Submission No | K111663 | Device-Device Incompatibility140 | 598
Establishment Operations | Foreign Exporter | Migration141 | 514
Recalls | 17
Device Name | ACE 3.5MM CORTICAL BONE SCREW | TPLC Device Problem | MDR
Device Class | 2 | Adverse Event Without Identified Device or Use Problem120 | 10188
Product Code | HWC | Break121 | 5202
Regulation No | 888.3 | Migration122 | 1640
Premarket Submission No | K905048 | Device-Device Incompatibility123 | 1508
Establishment Operations | Foreign Exporter | Fracture124 | 875
Recalls | -
Device Name | BIODRIVE CANNULATED SCREW SYSTEM | TPLC Device Problem | MDR
Device Class | 2 | Adverse Event Without Identified Device or Use Problem120 | 10188
Product Code | HWC | Break121 | 5202
Regulation No | 888.3 | Migration122 | 1640
Premarket Submission No | K082874 | Device-Device Incompatibility123 | 1508
Establishment Operations | Foreign Exporter | Fracture124 | 875
Recalls | -
Device Name | M2A MAGNUM SYSTEM | TPLC Device Problem | MDR
Device Class | 3 | Adverse Event Without Identified Device or Use Problem28 | 8637
Product Code | KWA | Insufficient Information29 | 3294
Regulation No | 888.33 | Naturally Worn30 | 2385
Premarket Submission No | K042037 | Device Dislodged or Dislocated31 | 2235
Establishment Operations | Foreign Exporter | Loss of Osseointegration32 | 1196
Recalls | -
Device Name | FINE GRAIN CAST COBALT CHROMIUM HIP STEMS | TPLC Device Problem | MDR
Device Class | 2 | Adverse Event Without Identified Device or Use Problem68 | 3573
Product Code | LZO | Device Dislodged or Dislocated69 | 2641
Regulation No | 888.33 | Insufficient Information70 | 2271
Premarket Submission No | K953925 | Appropriate Term/Code Not Available71 | 1209
Establishment Operations | Foreign Exporter | Fracture72 | 862
Recalls | -
Device Name | INTEGRATED ENDOSCOPY SYSTEM 1000 | TPLC Device Problem | MDR
Device Class | 2 | Break62 | 1100
Product Code | HRX | Electrical Shorting63 | 559
Regulation No | 888.11 | Display or Visual Feedback Problem64 | 487
Premarket Submission No | K920800 | Use of Device Problem65 | 444
Establishment Operations | Foreign Exporter | Increase in Pressure66 | 429
Recalls | 1
Device Name | BIOMET SPORTS MEDICINE JUGGERKNOT SOFT ANCHOR | TPLC Device Problem | MDR
Device Class | 2 | Break87 | 2965
Product Code | MBI | Device-Device Incompatibility88 | 916
Regulation No | 888.3 | Fracture89 | 526
Premarket Submission No | K110145 | Adverse Event Without Identified Device or Use Problem90 | 517
Establishment Operations | Foreign Exporter | Migration or Expulsion of Device91 | 384
Recalls | 3
Device Name | MALLORY/HEAD CALCAR REPLACEMENT WITH INTERLOCKING SLOTS BI-METRIC POROUS COLLARED STEM WITH INTERLOCKING SLOTS | TPLC Device Problem | MDR
Device Class | 2 | Adverse Event Without Identified Device or Use Problem71 | 11415
Product Code | LPH | Device Dislodged or Dislocated72 | 5541
Regulation No | 888.33 | Insufficient Information73 | 3795
Premarket Submission No | K990830 | Fracture74 | 1609
Establishment Operations | Foreign Exporter | Naturally Worn75 | 1604
Recalls | -
Device Name | OXFORD(TM) MENISCAL UNICOMPARTMENTAL KNEE SYSTEM | TPLC Device Problem | MDR
Device Class | 3 | Insufficient Information | 455
Product Code | NRA | Adverse Event Without Identified Device or Use Problem | 454
Regulation No |  | Patient Device Interaction Problem | 136
Premarket Submission No | P010014 | Appropriate Term/Code Not Available | 125
Establishment Operations | Foreign Exporter | Device Dislodged or Dislocated | 115
Recalls | 22
Device Name | SURGICAL SEALANT APPLICATOR TIP ENDOSCOPIC TIP | TPLC Device Problem | MDR
Device Class | 1 | Device Contamination with Chemical or Other Material29 | 138
Product Code | KYZ | Contamination /Decontamination Problem30 | 36
Regulation No | 880.69 | Break31 | 27
Premarket Submission No | K940371 | Leak/Splash32 | 25
Establishment Operations | Foreign Exporter | Fluid/Blood Leak33 | 13
Recalls | -
Device Name | VANGUARD PATELLA COMPONENTS | TPLC Device Problem | MDR
Device Class | 2 | Adverse Event Without Identified Device or Use Problem83 | 23191
Product Code | JWH | Insufficient Information84 | 7973
Regulation No | 888.35 | Fracture85 | 5898
Premarket Submission No | K040770 | Loss of or Failure to Bond86 | 4499
Establishment Operations | Foreign Exporter | Appropriate Term/Code Not Available87 | 3220
Recalls | 13
Device Name | Comprehensive Segmental Revision System (SRS) | TPLC Device Problem | MDR
Device Class | 2 | Appropriate Term/Code Not Available59 | 1343
Product Code | JDC | Adverse Event Without Identified Device or Use Problem60 | 1306
Regulation No | 888.31 | Device Dislodged or Dislocated61 | 1208
Premarket Submission No | K173411 | Fracture62 | 310
Establishment Operations | Foreign Exporter | Break63 | 296
Recalls | -
Device Name | Comprehensive Segmental Revision System (SRS) | TPLC Device Problem | MDR
Device Class | 2 | Appropriate Term/Code Not Available59 | 1343
Product Code | KWS | Adverse Event Without Identified Device or Use Problem60 | 1306
Regulation No | 888.36 | Device Dislodged or Dislocated61 | 1208
Premarket Submission No | K173411 | Fracture62 | 310
Establishment Operations | Foreign Exporter | Break63 | 296
Recalls | -
Device Name | Comprehensive Segmental Revision System (SRS) | TPLC Device Problem | MDR
Device Class | 2 | Appropriate Term/Code Not Available59 | 1343
Product Code | KWT | Adverse Event Without Identified Device or Use Problem60 | 1306
Regulation No | 888.36 | Device Dislodged or Dislocated61 | 1208
Premarket Submission No | K173411 | Fracture62 | 310
Establishment Operations | Foreign Exporter | Break63 | 296
Recalls | -
Device Name | Comprehensive Segmental Revision System (SRS) | TPLC Device Problem | MDR
Device Class | 2 | Appropriate Term/Code Not Available59 | 1343
Product Code | MBF | Adverse Event Without Identified Device or Use Problem60 | 1306
Regulation No | 888.36 | Device Dislodged or Dislocated61 | 1208
Premarket Submission No | K173411 | Fracture62 | 310
Establishment Operations | Foreign Exporter | Break63 | 296
Recalls | -
Device Name | Comprehensive Segmental Revision System (SRS) | TPLC Device Problem | MDR
Device Class | 2 | Appropriate Term/Code Not Available59 | 1343
Product Code | PHX | Adverse Event Without Identified Device or Use Problem60 | 1306
Regulation No | 888.36 | Device Dislodged or Dislocated61 | 1208
Premarket Submission No | K173411 | Fracture62 | 310
Establishment Operations | Foreign Exporter | Break63 | 296
Recalls | -
Device Name | StageOne Disposable Cement Spacer Molds for Temporary Hemi-Shoulder Prosthesis | TPLC Device Problem | MDR
Device Class | 2 | Loss of or Failure to Bond31 | 805
Product Code | HSD | Unsealed Device Packaging32 | 452
Regulation No | 888.36 | Adverse Event Without Identified Device or Use Problem33 | 340
Premarket Submission No | K160071 | Infusion or Flow Problem34 | 182
Establishment Operations | Foreign Exporter | Improper Chemical Reaction35 | 125
Recalls | 5
Device Name | StageOne Disposable Cement Spacer Molds for Temporary Hemi-Shoulder Prosthesis | TPLC Device Problem | MDR
Device Class | 2 | Loss of or Failure to Bond31 | 805
Product Code | KWS | Unsealed Device Packaging32 | 452
Regulation No | 888.36 | Adverse Event Without Identified Device or Use Problem33 | 340
Premarket Submission No | K160071 | Infusion or Flow Problem34 | 182
Establishment Operations | Foreign Exporter | Improper Chemical Reaction35 | 125
Recalls | 5
Device Name | StageOne Disposable Cement Spacer Molds for Temporary Hemi-Shoulder Prosthesis | TPLC Device Problem | MDR
Device Class | 2 | Loss of or Failure to Bond31 | 805
Product Code | MBB | Unsealed Device Packaging32 | 452
Regulation No | 888.3 | Adverse Event Without Identified Device or Use Problem33 | 340
Premarket Submission No | K160071 | Infusion or Flow Problem34 | 182
Establishment Operations | Foreign Exporter | Improper Chemical Reaction35 | 125
Recalls | 5
Device Name | JUGGERKNOT MINI SOFT ANCHOR | TPLC Device Problem | MDR
Device Class | 2 | Break33 | 141
Product Code | DZL | Fracture34 | 68
Regulation No | 872.48 | Adverse Event Without Identified Device or Use Problem35 | 68
Premarket Submission No | K140908 | Physical Resistance/Sticking36 | 43
Establishment Operations | Foreign Exporter | Patient Device Interaction Problem37 | 41
Recalls | -
Device Name | TOTALSHIELD SURGICAL HELMET SYSTEM | TPLC Device Problem | MDR
Device Class | 2 | Material Split, Cut or Torn82 | 58
Product Code | FYA | Torn Material83 | 37
Regulation No | 878.4 | Material Separation84 | 21
Premarket Submission No | K132386 | Material Integrity Problem85 | 21
Establishment Operations | Foreign Exporter | Device Contamination with Chemical or Other Material86 | 15
Recalls | -

## Info
Establishment Name | Error | Timestamp
Zimmer Biomet Centroamerica SA | 510K Table Not Found | 2023-08-04 12:57
Zimmer Biomet Centroamerica SA | Recalls Not Found | 2023-08-04 12:57
Zimmer Biomet Centroamerica SA | Inspection Table Not Found | 2023-08-04 12:59
Zimmer Biomet Centroamerica SA | Warning Letters Not Found | 2023-08-04 12:59